{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":1,"macros":1,"external_links":0,"defined_names":1,"comments":1,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":176,"n_cols":35,"rows_kept":176,"cut":false,"hidden":false,"merged":[]}
[null,null,null,"Edit","Fixed","Results",null,null,null,null,null,"Version 4.6"]
["Series","Model","Resolution\nWidth","Resolution\nHeight","Resolution\n (MP)","Chroma","Interface","Pixel Size\n(um)","Sensor Size\n(mm DIAG)","Sensor","Lens Mount","Pixel Format","Bit Depth","Frame Rate\n(fps)","QE % Peak \n(@ ~500nm)","Full Well \n(e-)","Read Noise\n(e-)","Dyn Range \n(dB)","SNRmax \n(dB)",null,null,null,null,"PACK BIT DEPTH","MIN_LINE_COUNTS","LT PARAM","LINE_COUNTS_MIN","LINE_COUNTS_MIN2","MODEL PARAM(us)","FRAME_RATE_MAX_PRE","FRAME_RATE_MAX","DATARATE(Gbps)","DEFAULTS FOR RESET RESOLUTION",null,"SUB_LINE_COUNTS"]
["Zenith","HZ-10000G-M",4608,2176,{"$f":"(C3*D3)/1000000","v":10.027008},"Mono","100GigE-QSFP28",4.5,{"$f":"SQRT(C3^2+D3^2)*H3*0.001","v":22.931745681478329},"GS4510","M60/F/EF","MONO/BAYXX8",{"$f":"IF( OR((L3=U$5),(L3=U$6),(L3=U$7),(L3=U$8),(L3=U$9)), 8, 10)","v":8},{"$f":"AE3","v":1000},63,7000,7,{"$f":"IF(20*LOG10(P3/Q3)<60, 20*LOG10(P3/Q3), 60)","v":60},{"$f":"20*LOG10(SQRT(P3))","v":38.450980400142569},null,"MONO/BAYXX8",null,null,{"$f":"IF(   OR((L3= U$8), (L3 = U$10)),   16,    IF(OR((L3 = U$6), (L3 = U$9)), 24,      IF((L3 = U$5), 8, 12)  ))","v":8},{"$f":"IF( OR(($L3=$U$5),($L3=$U$6),($L3=$U$7),($L3=$U$8),($L3=$U$9)), 176, 235)","v":176},{"$f":"IF(OR(G3=$U$13, G3=$U$14),C3*150/9300, IF(G3=$U$15,C3*400/24000,C3*400/95000))","v":19.402105263157896},{"$f":"FLOOR(     IF(OR((L3= U$8),(L3= U$10)), Z3*16,    IF(OR((L3 = U$6), (L3 = U$9)), Z3*24,  IF((L3 = U$5),Y3, Z3*12))    ),1)","v":176},{"$f":"IF(AA3 > Y3, AA3, Y3)","v":176},{"$f":"IF( OR(($L3=$U$5),($L3=$U$6),($L3=$U$7),($L3=$U$8),($L3=$U$9)), 96, 57)","v":96},{"$f":"FLOOR(400000000/((AB3*(D3+AC3))),1)","v":1000},{"$f":"AD3","v":1000},{"$f":"AE3*C3*D3*X3/1000000000","v":80.216064000000003},4608,2176,0]
["Zenith","HZ-10000G-C",4608,2176,{"$f":"(C4*D4)/1000000","v":10.027008},"Color","100GigE-QSFP28",4.5,22.931745681478329,"GS4510","M60/F/EF","MONO/BAYXX8",8,{"$f":"AE4","v":1000},63,7000,7,{"$f":"IF(20*LOG10(P4/Q4)<60, 20*LOG10(P4/Q4), 60)","v":60},{"$f":"20*LOG10(SQRT(P4))","v":38.450980400142569},null,"RGB8_PACKED",null,null,8,{"$f":"IF( OR(($L4=$U$5),($L4=$U$6),($L4=$U$7),($L4=$U$8),($L4=$U$9)), 176, 235)","v":176},19.402105263157896,176,{"$f":"IF(AA4 > Y4, AA4, Y4)","v":176},{"$f":"IF( OR(($L4=$U$5),($L4=$U$6),($L4=$U$7),($L4=$U$8),($L4=$U$9)), 96, 57)","v":96},{"$f":"FLOOR(400000000/((AB4*(D4+AC4))),1)","v":1000},{"$f":"AD4","v":1000},80.216064000000003,4608,2176,0]
["Zenith","HZ-21000G-M",5120,4096,{"$f":"(C5*D5)/1000000","v":20.971520000000002},"Mono","100GigE-QSFP28",4.5,{"$f":"SQRT(C5^2+D5^2)*H5*0.001","v":29.505596486090568},"GS4521","M60/F/EF","MONO/BAYXX8",{"$f":"IF( OR((L5=U$5),(L5=U$6),(L5=U$7),(L5=U$8),(L5=U$9)), 8, 10)","v":8},{"$f":"AE5","v":542},63,7000,7,{"$f":"IF(20*LOG10(P5/Q5)<60, 20*LOG10(P5/Q5), 60)","v":60},{"$f":"20*LOG10(SQRT(P5))","v":38.450980400142569},null,"MONO/BAYXX8",null,null,{"$f":"IF(   OR((L5= U$8), (L5 = U$10)),   16,    IF(OR((L5 = U$6), (L5 = U$9)), 24,      IF((L5 = U$5), 8, 12)  ))","v":8},{"$f":"IF( OR(($L5=$U$5),($L5=$U$6),($L5=$U$7),($L5=$U$8),($L5=$U$9)), 176, 354)","v":176},{"$f":"IF(OR(G5=$U$13, G5=$U$14),C5*150/9300, IF(G5=$U$15,C5*400/24000,C5*400/95000))","v":21.557894736842105},{"$f":"FLOOR(     IF(OR((L5= U$8),(L5= U$10)), Z5*16,    IF(OR((L5 = U$6), (L5 = U$9)), Z5*24,  IF((L5 = U$5),Y5, Z5*12))    ),1)","v":176},{"$f":"IF(AA5 > Y5, AA5, Y5)","v":176},{"$f":"IF( OR(($L5=$U$5),($L5=$U$6),($L5=$U$7),($L5=$U$8),($L5=$U$9)), 21, 31)","v":21},{"$f":"FLOOR(400000000/((AB5*(D5+AI5))+400*AC5),1)","v":542},{"$f":"AD5","v":542},{"$f":"AE5*C5*D5*X5/1000000000","v":90.932510719999996},5120,4096,{"$f":"IF( OR(($L5=$U$5),($L5=$U$6),($L5=$U$7),($L5=$U$8),($L5=$U$9)), 48, 24)","v":48}]
["Zenith","HZ-21000G-C",5120,4096,{"$f":"(C6*D6)/1000000","v":20.971520000000002},"Color","100GigE-QSFP28",4.5,29.505596486090568,"GS4521","M60/F/EF","MONO/BAYXX8",8,{"$f":"AE6","v":542},63,7000,7,{"$f":"IF(20*LOG10(P6/Q6)<60, 20*LOG10(P6/Q6), 60)","v":60},{"$f":"20*LOG10(SQRT(P6))","v":38.450980400142569},null,"RGB8_PACKED",null,null,8,{"$f":"IF( OR(($L6=$U$5),($L6=$U$6),($L6=$U$7),($L6=$U$8),($L6=$U$9)), 176, 354)","v":176},21.557894736842105,176,{"$f":"IF(AA6 > Y6, AA6, Y6)","v":176},{"$f":"IF( OR(($L6=$U$5),($L6=$U$6),($L6=$U$7),($L6=$U$8),($L6=$U$9)), 21, 31)","v":21},{"$f":"FLOOR(400000000/((AB6*(D6+AI6))+400*AC6),1)","v":542},{"$f":"AD6","v":542},{"$f":"AE6*C6*D6*X6/1000000000","v":90.932510719999996},5120,4096,{"$f":"IF( OR(($L6=$U$5),($L6=$U$6),($L6=$U$7),($L6=$U$8),($L6=$U$9)), 48, 24)","v":48}]
["Zenith","HZ-65000G-M",9344,7000,65.408000000000001,"Mono","100GigE-QSFP28",3.2,37.360645613265305,"GM3265","M52/F/EF","MONO/BAYXX8",8,71,66,11000,10,60,40.413926851582254,null,"YUV411_PACKED",null,null,8,800,39.343157894736841,800,{"$f":"IF(AA7 > Y7, AA7, Y7)","v":800},33,{"$f":"IF(OR(G7=$U$13, G7=$U$14), FLOOR(IF(AB7 > Y7/100, 150000000/(AB7*(D7+AC7)), (150000000/(Y7*(D7+AC7)))),1), FLOOR(IF(AB7 > Y7/100, 400000000/(AB7*(D7+AC7)), (400000000/(Y7*(D7+AC7)))),1))","v":71},{"$f":"FLOOR(IF((10 > (1000000/AD7)-AC7), (1000000/(AC7+10)), AD7),1)","v":71},{"$f":"AE7*C7*D7*X7/1000000000","v":37.151744000000001},9344,7000]
["Zenith","HZ-65000G-C",9344,7000,65.408000000000001,"Color","100GigE-QSFP28",3.2,37.360645613265305,"GM3265","M52/F/EF","MONO/BAYXX8",8,71,66,11000,10,60,40.413926851582254,null,"YUV422_PACKED",null,null,8,800,39.343157894736841,800,800,33,71,71,37.151744000000001,9344,7000]
["Zenith","HZ-100G-M",11276,9200,103.7392,"Mono","100GigE-QSFP28",3.2,46.569420462788671,"GM32103","M60/F/EF","MONO/BAYXX8",8,24,67,9800,7.5,60,39.912260756924951,null,"YUV444_PACKED",null,null,8,1700,47.477894736842103,1700,1700,500,24,24,19.917926399999999,11276,9200]
["Zenith","HZ-100G-C",11276,9200,103.7392,"Color","100GigE-QSFP28",3.2,46.569420462788671,"GM32103","M60/F/EF","MONO/BAYXX8",8,24,67,9800,7.5,60,39.912260756924951,null,"MONO/BAYXX10/12",null,null,8,1700,47.477894736842103,1700,1700,500,24,24,19.917926399999999,11276,9200]
["Bolt","HB-25000SB-M",5320,4600,{"$f":"(C11*D11)/1000000","v":24.472000000000001},"Mono","25GigE-SFP28",2.74,{"$f":"SQRT(C11^2+D11^2)*H11*0.001","v":19.270285785114865},"IMX530","C-Mount","MONO/BAYXX8",{"$f":"IF( OR((L11=U$5),(L11=U$6),(L11=U$7),(L11=U$8),(L11=U$9)), 8, 12)","v":8},{"$f":"AE11","v":98},78,{"$f":"IF( OR((L11=U$5),(L11=U$6),(L11=U$7),(L11=U$8),(L11=U$9)), 9500/4, 9500)","v":2375},2,{"$f":"IF(20*LOG10(P11/Q11)<72, 20*LOG10(P11/Q11), 72)","v":61.492672365938084},{"$f":"20*LOG10(SQRT(P11))","v":33.756636139608858},null,"MONO/BAYXX10/12Packed",null,null,8,{"$f":"IF( OR((L11=U$5),(L11=U$6),(L11=U$7),(L11=U$8),(L11=U$9)), 840, 1224)","v":840},{"$f":"IF(OR(G11=$U$13, G11=$U$14),C11*150/9300, C11*400/24000)","v":88.666666666666671},840,{"$f":"IF(AA11 > Y11, AA11, Y11)","v":840},240,98,{"$f":"FLOOR(IF((10 > (1000000/AD11)-AC11), (1000000/(AC11+10)), AD11),1)","v":98},{"$f":"AE11*C11*D11*X11/1000000000","v":19.186048},5320,4600]
["Bolt","HB-25000SB-C",5320,4600,{"$f":"(C12*D12)/1000000","v":24.472000000000001},"Color","25GigE-SFP28",2.74,19.270285785114865,"IMX530","C-Mount","MONO/BAYXX8",8,{"$f":"AE12","v":98},72,2375,2,{"$f":"IF(20*LOG10(P12/Q12)<72, 20*LOG10(P12/Q12), 72)","v":61.492672365938084},{"$f":"20*LOG10(SQRT(P12))","v":33.756636139608858},null,null,null,null,8,840,88.666666666666671,840,{"$f":"IF(AA12 > Y12, AA12, Y12)","v":840},240,98,{"$f":"FLOOR(IF((10 > (1000000/AD12)-AC12), (1000000/(AC12+10)), AD12),1)","v":98},19.186048,5320,4600]
["Bolt","HB-20000SB-M",4504,4504,20.286016,"Mono","25GigE-SFP28",2.74,17.452753004703872,"IMX531","C-Mount","MONO/BAYXX8",8,100,78,2375,2,61.492672365938084,33.756636139608858,null,"10GigE-BaseT",null,null,8,840,75.066666666666663,840,840,240,100,100,16.2288128,4504,4504]
["Bolt","HB-20000SB-C",4504,4504,20.286016,"Color","25GigE-SFP28",2.74,17.452753004703872,"IMX531","C-Mount","MONO/BAYXX8",8,100,72,2375,2,61.492672365938084,33.756636139608858,null,"10GigE-SFP+",null,null,8,840,75.066666666666663,840,840,240,100,100,16.2288128,4504,4504]
["Bolt","HB-16000SB-M",5320,3032,16.130240000000001,"Mono","25GigE-SFP28",2.74,16.777980963822792,"IMX532","C-Mount","MONO/BAYXX8",8,145,78,2375,2,61.492672365938084,33.756636139608858,null,"25GigE-SFP28",null,null,8,840,88.666666666666671,840,840,240,145,145,18.711078400000002,5320,3032]
["Bolt","HB-16000SB-C",5320,3032,16.130240000000001,"Color","25GigE-SFP28",2.74,16.777980963822792,"IMX532","C-Mount","MONO/BAYXX8",8,145,72,2375,2,61.492672365938084,33.756636139608858,null,"100GigE-QSFP28",null,null,8,840,88.666666666666671,840,840,240,145,145,18.711078400000002,5320,3032]
["Bolt","HB-12000SB-M",4096,3000,12.288,"Mono","25GigE-SFP28",2.74,13.911327285403074,"IMX535","C-Mount","MONO/BAYXX8",8,185,78,2375,2,61.492672365938084,{"$f":"20*LOG10(SQRT(P17))","v":33.756636139608858},null,null,null,null,8,{"$f":"IF( OR((L17=U$5),(L17=U$6),(L17=U$7),(L17=U$8),(L17=U$9)), 665, 1020)","v":665},68.266666666666666,665,{"$f":"IF(AA17 > Y17, AA17, Y17)","v":665},240,185,{"$f":"FLOOR(IF((10 > (1000000/AD17)-AC17), (1000000/(AC17+10)), AD17),1)","v":185},{"$f":"AE17*C17*D17*X17/1000000000","v":18.186240000000002},4096,3000]
["Bolt","HB-12000SB-C",4096,3000,12.288,"Color","25GigE-SFP28",2.74,13.911327285403074,"IMX535","C-Mount","MONO/BAYXX8",8,185,72,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L18=U$5),(L18=U$6),(L18=U$7),(L18=U$8),(L18=U$9)), 665, 1020)","v":665},68.266666666666666,665,665,240,185,185,18.186240000000002,4096,3000]
["Bolt","HB-8000SB-M",2840,2840,8.0655999999999999,"Mono","25GigE-SFP28",2.74,11.004844256962478,"IMX536","C-Mount","MONO/BAYXX8",8,195,78,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L19=U$5),(L19=U$6),(L19=U$7),(L19=U$8),(L19=U$9)), 665, 1020)","v":665},47.333333333333336,665,665,240,195,195,12.582336,2840,2840]
["Bolt","HB-8000SB-C",2840,2840,8.0655999999999999,"Color","25GigE-SFP28",2.74,11.004844256962478,"IMX536","C-Mount","MONO/BAYXX8",8,195,72,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L20=U$5),(L20=U$6),(L20=U$7),(L20=U$8),(L20=U$9)), 665, 1020)","v":665},47.333333333333336,665,665,240,195,195,12.582336,2840,2840]
["Bolt","HB-5000SB-M",2448,2048,5.0135040000000002,"Mono","25GigE-SFP28",2.74,8.7452833722412908,"IMX537","C-Mount","MONO/BAYXX8",8,260,78,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L21=U$5),(L21=U$6),(L21=U$7),(L21=U$8),(L21=U$9)), 670, 1020)","v":670},40.799999999999997,670,670,240,260,260,10.428088320000001,2448,2048]
["Bolt","HB-5000SB-C",2448,2048,5.0135040000000002,"Color","25GigE-SFP28",2.74,8.7452833722412908,"IMX537","C-Mount","MONO/BAYXX8",8,260,72,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L22=U$5),(L22=U$6),(L22=U$7),(L22=U$8),(L22=U$9)), 670, 1020)","v":670},40.799999999999997,670,670,240,260,260,10.428088320000001,2448,2048]
["Bolt","HB-30000S-M",6464,4852,31.363327999999999,"Mono","25GigE-SFP28",3.45,27.884282185489376,"IMX342","M52/F/EF","MONO/BAYXX8",8,35,68,{"$f":"IF( OR((L23=U$5),(L23=U$6),(L23=U$7),(L23=U$8),(L23=U$9)), 11000/4, 11000)","v":2750},2,62.766053963325632,{"$f":"20*LOG10(SQRT(P23))","v":34.393326938302629},null,null,null,null,8,{"$f":"IF( OR((L23=U$5),(L23=U$6),(L23=U$7),(L23=U$8),(L23=U$9)), 2278, 3135)","v":2278},107.73333333333333,2278,{"$f":"IF(AA23 > Y23, AA23, Y23)","v":2278},80,35,{"$f":"FLOOR(IF((10 > (1000000/AD23)-AC23), (1000000/(AC23+10)), AD23),1)","v":35},8.7817318400000008,6464,4852]
["Bolt","HB-30000S-C",6464,4852,31.363327999999999,"Color","25GigE-SFP28",3.45,27.884282185489376,"IMX342","M52/F/EF","MONO/BAYXX8",8,35,63,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L24=U$5),(L24=U$6),(L24=U$7),(L24=U$8),(L24=U$9)), 2278, 3135)","v":2278},107.73333333333333,2278,2278,80,35,35,8.7817318400000008,6464,4852]
["Bolt","HB-20000S-M",4416,4428,19.554048000000002,"Mono","25GigE-SFP28",3.45,21.575120546592554,"IMX367","M52/F/EF","MONO/BAYXX8",8,43,68,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L25=U$5),(L25=U$6),(L25=U$7),(L25=U$8),(L25=U$9)), 2052, 3135)","v":2052},73.599999999999994,2052,2052,80,43,43,6.7265925119999999,4416,4428]
["Bolt","HB-20000S-C",4416,4428,19.554048000000002,"Color","25GigE-SFP28",3.45,21.575120546592554,"IMX367","M52/F/EF","MONO/BAYXX8",8,43,63,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L26=U$5),(L26=U$6),(L26=U$7),(L26=U$8),(L26=U$9)), 2052, 3135)","v":2052},73.599999999999994,2052,2052,80,43,43,6.7265925119999999,4416,4428]
["Bolt","HB-17000S-M",5456,3076,16.782655999999999,"Mono","25GigE-SFP28",3.45,21.60860122914022,"IMX387","M52/F/EF","MONO/BAYXX8",8,61,68,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L27=U$5),(L27=U$6),(L27=U$7),(L27=U$8),(L27=U$9)), 2052, 3135)","v":2052},90.933333333333337,2052,2052,80,61,61,8.1899361279999994,5456,3076]
["Bolt","HB-17000S-C",5456,3076,16.782655999999999,"Color","25GigE-SFP28",3.45,21.60860122914022,"IMX387","M52/F/EF","MONO/BAYXX8",8,61,63,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L28=U$5),(L28=U$6),(L28=U$7),(L28=U$8),(L28=U$9)), 2052, 3135)","v":2052},90.933333333333337,2052,2052,80,61,61,8.1899361279999994,5456,3076]
["Bolt","HB-7000S-M",3208,2200,7.0575999999999999,"Mono","25GigE-SFP28",4.5,17.504516445763361,"IMX420","C-Mount","MONO/BAYXX8",8,210,74,{"$f":"IF( OR((L29=U$5),(L29=U$6),(L29=U$7),(L29=U$8),(L29=U$9)), 25000/4, 25000)","v":6250},2.5,67.95880017344075,37.958800173440757,null,null,null,null,8,{"$f":"IF( OR((L29=U$5),(L29=U$6),(L29=U$7),(L29=U$8),(L29=U$9)), 831, 1293)","v":831},53.466666666666669,831,831,92,210,210,11.856768000000001,3208,2200]
["Bolt","HB-7000S-C",3208,2200,7.0575999999999999,"Color","25GigE-SFP28",4.5,17.504516445763361,"IMX420","C-Mount","MONO/BAYXX8",8,210,69,6250,2.5,67.95880017344075,37.958800173440757,null,null,null,null,8,{"$f":"IF( OR((L30=U$5),(L30=U$6),(L30=U$7),(L30=U$8),(L30=U$9)), 831, 1293)","v":831},53.466666666666669,831,831,92,210,210,11.856768000000001,3208,2200]
["Bolt","HB-2800S-M",1936,1464,2.8343039999999999,"Mono","25GigE-SFP28",4.5,10.92248543143913,"IMX421","C-Mount","MONO/BAYXX8",8,410,74,6250,2.5,67.95880017344075,37.958800173440757,null,null,null,null,8,{"$f":"IF( OR((L31=U$5),(L31=U$6),(L31=U$7),(L31=U$8),(L31=U$9)), 625, 1121)","v":625},32.266666666666666,625,625,95,410,410,9.2965171200000007,1936,1464]
["Bolt","HB-2800S-C",1936,1464,2.8343039999999999,"Color","25GigE-SFP28",4.5,10.92248543143913,"IMX421","C-Mount","MONO/BAYXX8",8,410,69,6250,2.5,67.95880017344075,37.958800173440757,null,null,null,null,8,{"$f":"IF( OR((L32=U$5),(L32=U$6),(L32=U$7),(L32=U$8),(L32=U$9)), 625, 1121)","v":625},32.266666666666666,625,625,95,410,410,9.2965171200000007,1936,1464]
["Bolt","HB-2000S-M",1624,1240,2.01376,"Mono","25GigE-SFP28",4.5,9.1947411056538186,"IMX422","C-Mount","MONO/BAYXX8",8,485,74,6250,2.5,67.95880017344075,37.958800173440757,null,null,null,null,8,{"$f":"IF( OR((L33=U$5),(L33=U$6),(L33=U$7),(L33=U$8),(L33=U$9)), 625, 1121)","v":625},27.066666666666666,625,625,78,485,485,7.8133888000000002,1624,1240]
["Bolt","HB-2000S-C",1624,1240,{"$f":"(C35*D35)/1000000","v":1.7644},"Color","25GigE-SFP28",4.5,9.1947411056538186,"IMX422","C-Mount","MONO/BAYXX8",8,485,69,6250,2.5,67.95880017344075,37.958800173440757,null,null,null,null,8,{"$f":"IF( OR((L34=U$5),(L34=U$6),(L34=U$7),(L34=U$8),(L34=U$9)), 625, 1121)","v":625},27.066666666666666,625,625,78,485,485,7.8133888000000002,1624,1240]
["Bolt","HB-1800S-M",1604,1100,{"$f":"(C36*D36)/1000000","v":1.7644},"Mono","25GigE-SFP28",9,17.504516445763361,"IMX425","C-Mount","MONO/BAYXX8",8,660,74,{"$f":"IF( OR((L35=U$5),(L35=U$6),(L35=U$7),(L35=U$8),(L35=U$9)), 100000/4, 100000)","v":25000},2.5,72,43.979400086720375,null,null,null,null,8,{"$f":"IF( OR((L35=U$5),(L35=U$6),(L35=U$7),(L35=U$8),(L35=U$9)), 470, 658)","v":470},26.733333333333334,470,470,188,660,660,9.3160319999999999,1604,1100]
["Bolt","HB-1800S-C",1604,1100,1.7644,"Color","25GigE-SFP28",9,17.504516445763361,"IMX425","C-Mount","MONO/BAYXX8",8,660,69,{"$f":"IF( OR((L36=U$5),(L36=U$6),(L36=U$7),(L36=U$8),(L36=U$9)), 100000/4, 100000)","v":25000},2.5,72,43.979400086720375,null,null,null,null,8,{"$f":"IF( OR((L36=U$5),(L36=U$6),(L36=U$7),(L36=U$8),(L36=U$9)), 470, 658)","v":470},26.733333333333334,470,470,188,660,660,9.3160319999999999,1604,1100]
["Bolt","HB-500S-M",812,620,0.50344,"Mono","25GigE-SFP28",9,9.1947411056538186,"IMX426","C-Mount","MONO/BAYXX8",8,1586,74,{"$f":"IF( OR((L37=U$5),(L37=U$6),(L37=U$7),(L37=U$8),(L37=U$9)), 100000/4, 100000)","v":25000},2.5,72,43.979400086720375,null,null,null,null,{"$f":"IF(   OR((L37= U$8), (L37 = U$10)),   16,    IF(OR((L37 = U$6), (L37 = U$9)), 24,      IF((L37 = U$5), 8, 12)  ))","v":8},{"$f":"IF( OR((L37=U$5),(L37=U$6),(L37=U$7),(L37=U$8),(L37=U$9)), 324, 571)","v":324},13.533333333333333,{"$f":"FLOOR(     IF(OR((L37= U$8),(L37= U$10)), Z37*16,    IF(OR((L37 = U$6), (L37 = U$9)), Z37*24,  IF((L37 = U$5),Y37, Z37*12))    ),1)","v":324},324,158,1586,1586,6.3876467200000002,812,620]
["Bolt","HB-500S-C",812,620,0.50344,"Color","25GigE-SFP28",9,9.1947411056538186,"IMX426","C-Mount","MONO/BAYXX8",8,1586,69,{"$f":"IF( OR((L38=U$5),(L38=U$6),(L38=U$7),(L38=U$8),(L38=U$9)), 100000/4, 100000)","v":25000},2.5,72,43.979400086720375,null,null,null,null,8,{"$f":"IF( OR((L38=U$5),(L38=U$6),(L38=U$7),(L38=U$8),(L38=U$9)), 324, 571)","v":324},13.533333333333333,324,324,158,1586,1586,6.3876467200000002,812,620]
["Bolt","HB-65000G-M",9344,7000,65.408000000000001,"Mono","25GigE-SFP28",3.2,37.360645613265305,"GMAX3265","M52/F/EF","MONO/BAYXX8",{"$f":"IF( OR((L39=U$5),(L39=U$6),(L39=U$7),(L39=U$8),(L39=U$9)), 8, 10)","v":8},35,65,9800,7.5,62.3232962460159,39.912260756924951,null,null,null,null,8,1600,155.73333333333332,1600,1600,12,{"$f":"IF(OR(G39=$U$13, G39=$U$14), FLOOR(IF(AB39 > Y39/100, 150000000/(AB39*(D39+AC39)), (150000000/(Y39*(D39+AC39)))),1), FLOOR(IF(AB39 > Y39/100, 400000000/(AB39*(D39+AC39)), (400000000/(Y39*(D39+AC39)))),1))","v":35},35,18.314240000000002,9344,7000]
["Bolt","HB-65000G-C",9344,7000,65.408000000000001,"Color","25GigE-SFP28",3.2,37.360645613265305,"GMAX3265","M52/F/EF","MONO/BAYXX8",8,35,60,9800,7.5,62.3232962460159,39.912260756924951,null,null,null,null,8,1600,155.73333333333332,1600,1600,12,35,35,18.314240000000002,9344,7000]
["Bolt","HB-25000G-M",5120,5120,26.214400000000001,"Mono","25GigE-SFP28",2.5,18.101933598375616,"GMAX0505","C-Mount","MONO/BAYXX8",8,74,65,4000,3.4,61.411621485714143,36.020599913279625,null,null,null,null,8,{"$f":"IF( OR((L41=U$5),(L41=U$6),(L41=U$7),(L41=U$8),(L41=U$9)), 1034, 1034)","v":1034},85.333333333333329,1034,1034,70,74,74,15.518924800000001,5120,5120]
["Bolt","HB-25000G-C",5120,5120,26.214400000000001,"Color","25GigE-SFP28",2.5,18.101933598375616,"GMAX0505","C-Mount","MONO/BAYXX8",8,74,60,4000,3.4,61.411621485714143,36.020599913279625,null,null,null,null,8,{"$f":"IF( OR((L42=U$5),(L42=U$6),(L42=U$7),(L42=U$8),(L42=U$9)), 1034, 1034)","v":1034},85.333333333333329,1034,1034,70,74,74,15.518924800000001,5120,5120]
["Bolt","HB-9000G-M",4200,2160,9.0719999999999992,"Mono","25GigE-SFP28",2.5,11.807201192492656,"GMAX2509","C-Mount","MONO/BAYXX8",8,287,65,5000,3.9,62.158107946190391,36.989700043360187,null,null,null,null,8,{"$f":"IF( OR((L43=U$5),(L43=U$6),(L43=U$7),(L43=U$8),(L43=U$9)), 634, 634)","v":634},{"$f":"IF(OR(G43=$U$13, G43=$U$14),C43*150/9300, C43*400/24000)","v":70},634,634,33,287,287,20.829312000000002,4200,2160]
["Bolt","HB-9000G-C",4200,2160,9.0719999999999992,"Color","25GigE-SFP28",2.5,11.807201192492656,"GMAX2509","C-Mount","MONO/BAYXX8",8,287,60,5000,3.9,62.158107946190391,36.989700043360187,null,null,null,null,8,{"$f":"IF( OR((L44=U$5),(L44=U$6),(L44=U$7),(L44=U$8),(L44=U$9)), 634, 634)","v":634},70,634,634,33,287,287,20.829312000000002,4200,2160]
["Bolt","HB-5000G-M",2600,2160,5.6159999999999997,"Mono","25GigE-SFP28",2.5,8.4504437753291981,"GMAX2505","C-Mount","MONO/BAYXX8",8,289,65,5000,3.9,62.158107946190391,36.989700043360187,null,null,null,null,8,{"$f":"IF( OR((L45=U$5),(L45=U$6),(L45=U$7),(L45=U$8),(L45=U$9)), 634, 634)","v":634},43.333333333333336,634,634,20,289,289,12.984192,2600,2160]
["Bolt","HB-5000G-C",2600,2160,5.6159999999999997,"Color","25GigE-SFP28",2.5,8.4504437753291981,"GMAX2505","C-Mount","MONO/BAYXX8",8,289,60,5000,3.9,62.158107946190391,36.989700043360187,null,null,null,null,8,{"$f":"IF( OR((L46=U$5),(L46=U$6),(L46=U$7),(L46=U$8),(L46=U$9)), 634, 634)","v":634},43.333333333333336,634,634,20,289,289,12.984192,2600,2160]
["Bolt","HB-50000-M",7920,6004,47.551679999999998,"Mono","25GigE-SFP28",4.5999999999999996,45.717246664251341,"CMV50000","M52/F/EF","MONO/BAYXX8",8,30,60,14500,8.8000000000000007,64.337706601696127,41.613680022349754,null,null,null,null,8,{"$f":"IF( OR((L47=U$5),(L47=U$6),(L47=U$7),(L47=U$8),(L47=U$9)), 2159, 2159)","v":2159},132,2159,2159,150,30,30,11.4124032,7920,6004]
["Bolt","HB-50000-C",7920,6004,47.551679999999998,"Color","25GigE-SFP28",4.5999999999999996,45.717246664251341,"CMV50000","M52/F/EF","MONO/BAYXX8",8,30,55,14500,8.8000000000000007,64.337706601696127,{"$f":"20*LOG10(SQRT(P48))","v":41.613680022349754},null,null,null,null,8,{"$f":"IF( OR((L48=U$5),(L48=U$6),(L48=U$7),(L48=U$8),(L48=U$9)), 2159, 2159)","v":2159},132,2159,2159,150,30,30,11.4124032,7920,6004]
["HR","HR-12000S-M",4096,3000,12.288,"Mono","10GigE-SFP+",3.45,17.516087275416279,"IMX253","C-Mount","MONO/BAYXX8",{"$f":"IF( OR((L49=U$5),(L49=U$6),(L49=U$7),(L49=U$8),(L49=U$9)), 8, 12)","v":8},80,68,{"$f":"IF( OR((L49=U$5),(L49=U$6),(L49=U$7),(L49=U$8),(L49=U$9)), 11000/4, 11000)","v":2750},2,{"$f":"IF(20*LOG10(P49/Q49)<72, 20*LOG10(P49/Q49), 72)","v":62.766053963325632},{"$f":"20*LOG10(SQRT(P49))","v":34.393326938302629},null,null,null,null,8,{"$f":"IF( OR((L49=U$5),(L49=U$6),(L49=U$7),(L49=U$8),(L49=U$9)), 610, 1054)","v":610},66.064516129032256,610,610,63,80,80,7.8643200000000002,4096,3000]
["HR","HR-12000S-C",4096,3000,12.288,"Color","10GigE-SFP+",3.45,17.516087275416279,"IMX253","C-Mount","MONO/BAYXX8",8,80,63,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L50=U$5),(L50=U$6),(L50=U$7),(L50=U$8),(L50=U$9)), 610, 1054)","v":610},66.064516129032256,610,610,63,80,80,7.8643200000000002,4096,3000]
["HR","HR-8000S-M",4096,2160,8.8473600000000001,"Mono","10GigE-SFP+",3.45,15.975703973221338,"IMX255","C-Mount","MONO/BAYXX8",8,110,68,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L51=U$5),(L51=U$6),(L51=U$7),(L51=U$8),(L51=U$9)), 610, 1054)","v":610},66.064516129032256,610,610,71,110,110,7.7856768000000001,4096,2160]
["HR","HR-8000S-C",4096,2160,8.8473600000000001,"Color","10GigE-SFP+",3.45,15.975703973221338,"IMX255","C-Mount","MONO/BAYXX8",8,110,63,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L52=U$5),(L52=U$6),(L52=U$7),(L52=U$8),(L52=U$9)), 610, 1054)","v":610},66.064516129032256,610,610,71,110,110,7.7856768000000001,4096,2160]
["HR","HR-5000S-M",2448,2048,5.0135040000000002,"Mono","10GigE-SFP+",3.45,11.011396946800165,"IMX250","C-Mount","MONO/BAYXX8",8,163,68,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L53=U$5),(L53=U$6),(L53=U$7),(L53=U$8),(L53=U$9)), 438, 800)","v":438},39.483870967741936,438,438,47,163,163,6.5376092159999999,2448,2048]
["HR","HR-5000S-C",2448,2048,5.0135040000000002,"Color","10GigE-SFP+",3.45,11.011396946800165,"IMX250","C-Mount","MONO/BAYXX8",8,163,63,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L54=U$5),(L54=U$6),(L54=U$7),(L54=U$8),(L54=U$9)), 438, 800)","v":438},39.483870967741936,438,438,47,163,163,6.5376092159999999,2448,2048]
["HR","HR-3000S-M",2048,1536,3.1457280000000001,"Mono","10GigE-SFP+",3.45,8.8320000000000007,"IMX252","C-Mount","MONO/BAYXX8",8,216,68,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L55=U$5),(L55=U$6),(L55=U$7),(L55=U$8),(L55=U$9)), 438, 800)","v":438},33.032258064516128,438,438,47,216,216,5.4358179839999998,2048,1536]
["HR","HR-3000S-C",2048,1536,3.1457280000000001,"Color","10GigE-SFP+",3.45,8.8320000000000007,"IMX252","C-Mount","MONO/BAYXX8",8,216,63,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L56=U$5),(L56=U$6),(L56=U$7),(L56=U$8),(L56=U$9)), 438, 800)","v":438},33.032258064516128,438,438,47,216,216,5.4358179839999998,2048,1536]
["HR","HR-12000SP-M",4096,3000,{"$f":"(C57*D57)/1000000","v":12.288},"Mono","10GigE-SFP+",3.45,{"$f":"SQRT(C57^2+D57^2)*H57*0.001","v":17.516087275416279},"IMX253","C-Mount","MONO/BAYXX8",8,{"$f":"AE57","v":80},68,2750,2,{"$f":"IF(20*LOG10(P57/Q57)<72, 20*LOG10(P57/Q57), 72)","v":62.766053963325632},{"$f":"20*LOG10(SQRT(P57))","v":34.393326938302629},null,null,null,null,8,{"$f":"IF( OR((L57=U$5),(L57=U$6),(L57=U$7),(L57=U$8),(L57=U$9)), 610, 1054)","v":610},66.064516129032256,610,{"$f":"IF(AA57 > Y57, AA57, Y57)","v":610},63,80,{"$f":"FLOOR(IF((10 > (1000000/AD57)-AC57), (1000000/(AC57+10)), AD57),1)","v":80},{"$f":"AE57*C57*D57*X57/1000000000","v":7.8643200000000002},4096,3000]
["HR","HR-12000SP-C",4096,3000,12.288,"Color","10GigE-SFP+",3.45,17.516087275416279,"IMX253","C-Mount","MONO/BAYXX8",8,80,63,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L58=U$5),(L58=U$6),(L58=U$7),(L58=U$8),(L58=U$9)), 610, 1054)","v":610},66.064516129032256,610,610,63,80,80,7.8643200000000002,4096,3000]
["HR","HR-5000SP-M",2448,2048,5.0135040000000002,"Mono","10GigE-SFP+",3.45,11.011396946800165,"IMX250","C-Mount","MONO/BAYXX8",8,163,68,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L59=U$5),(L59=U$6),(L59=U$7),(L59=U$8),(L59=U$9)), 438, 800)","v":438},39.483870967741936,438,438,47,163,163,6.5376092159999999,2448,2048]
["HR","HR-5000SP-C",2448,2048,5.0135040000000002,"Color","10GigE-SFP+",3.45,11.011396946800165,"IMX250","C-Mount","MONO/BAYXX8",8,163,63,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L60=U$5),(L60=U$6),(L60=U$7),(L60=U$8),(L60=U$9)), 438, 800)","v":438},39.483870967741936,438,438,47,163,163,6.5376092159999999,2448,2048]
["HR","HR-2000M",2048,1088,2.228224,"Mono","10GigE-SFP+",5.5,12.75484033612338,"CMV2000","C-Mount","MONO/BAYXX8",{"$f":"IF( OR((L61=U$5),(L61=U$6),(L61=U$7),(L61=U$8),(L61=U$9)), 8, 10)","v":8},338,62,13500,13,60.327808323763392,41.303337684950058,null,null,null,null,8,403,33.032258064516128,403,403,10,338,338,6.0251176959999997,2048,1088]
["HR","HR-2000C",2048,1088,2.228224,"Color","10GigE-SFP+",5.5,12.75484033612338,"CMV2000","C-Mount","MONO/BAYXX8",8,338,48,13500,13,60.327808323763392,41.303337684950058,null,null,null,null,8,403,33.032258064516128,403,403,10,338,338,6.0251176959999997,2048,1088]
["HR","HR-2000N",2048,1088,2.228224,"Mono","10GigE-SFP+",5.5,12.75484033612338,"CMV2000","C-Mount","MONO/BAYXX8",8,338,62,13500,13,60.327808323763392,41.303337684950058,null,null,null,null,8,403,33.032258064516128,403,403,10,338,338,6.0251176959999997,2048,1088]
["HR","HR-4000M",2048,2048,4.1943039999999998,"Color","10GigE-SFP+",5.5,15.929701566570545,"CMV4000","C-Mount","MONO/BAYXX8",8,179,62,13500,13,60.327808323763392,41.303337684950058,null,null,null,null,8,403,33.032258064516128,403,403,30,179,179,6.006243328,2048,2048]
["HR","HR-4000C",2048,2048,4.1943039999999998,"Mono","10GigE-SFP+",5.5,15.929701566570545,"CMV4000","C-Mount","MONO/BAYXX8",8,179,48,13500,13,60.327808323763392,41.303337684950058,null,null,null,null,8,403,33.032258064516128,403,403,30,179,179,6.006243328,2048,2048]
["HR","HR-4000N",2048,2048,4.1943039999999998,"Color","10GigE-SFP+",5.5,15.929701566570545,"CMV4000","C-Mount","MONO/BAYXX8",8,179,62,13500,13,60.327808323763392,41.303337684950058,null,null,null,null,8,403,33.032258064516128,403,403,30,179,179,6.006243328,2048,2048]
["HR","HR-12000M",4096,3072,12.582912,"Mono","10GigE-SFP+",5.5,28.16,"CMV12000","M42","MONO/BAYXX8",8,84,62,13500,13,60.327808323763392,41.303337684950058,null,null,null,null,8,{"$f":"IF( OR((L67=U$5),(L67=U$6),(L67=U$7),(L67=U$8),(L67=U$9)), 574, 717)","v":574},66.064516129032256,574,574,30,84,84,8.4557168639999993,4096,3072]
["HR","HR-12000C",4096,3072,12.582912,"Color","10GigE-SFP+",5.5,28.16,"CMV12000","M42","MONO/BAYXX8",8,84,48,13500,13,60.327808323763392,41.303337684950058,null,null,null,null,8,{"$f":"IF( OR((L68=U$5),(L68=U$6),(L68=U$7),(L68=U$8),(L68=U$9)), 574, 717)","v":574},66.064516129032256,574,574,30,84,84,8.4557168639999993,4096,3072]
["HR","HR-20000M",5120,3840,19.660799999999998,"Mono","10GigE-SFP+",6.4,40.96,"CMV20000","M52/F/EF","MONO/BAYXX8",8,32,62,15000,8,65.460025441274752,41.760912590556813,null,null,null,null,{"$f":"IF(   OR((L69= U$8), (L69 = U$10)),   16,    IF(OR((L69 = U$6), (L69 = U$9)), 24,      IF((L69 = U$5), 8, 12)  ))","v":8},1202,82.58064516129032,{"$f":"FLOOR(     IF(OR((L69= U$8),(L69= U$10)), Z69*16,    IF(OR((L69 = U$6), (L69 = U$9)), Z69*24,  IF((L69 = U$5),Y69, Z69*12))    ),1)","v":1202},1202,50,32,32,5.0331647999999998,5120,3840]
["HR","HR-20000C",5120,3840,19.660799999999998,"Color","10GigE-SFP+",6.4,40.96,"CMV20000","M52/F/EF","MONO/BAYXX8",8,32,48,15000,8,65.460025441274752,41.760912590556813,null,null,null,null,8,1202,82.58064516129032,1202,1202,50,32,32,5.0331647999999998,5120,3840]
["HR","HR-50000M",7920,6004,47.551679999999998,"Mono","10GigE-SFP+",4.5999999999999996,45.717246664251341,"CMV50000","M52/F/EF","MONO/BAYXX8",{"$f":"IF( OR((L71=U$5),(L71=U$6),(L71=U$7),(L71=U$8),(L71=U$9)), 8, 12)","v":8},23,61,14500,8.8000000000000007,64.337706601696127,41.613680022349754,null,null,null,null,8,1043,127.74193548387096,1043,1043,150,{"$f":"IF(OR(G71=$U$13, G71=$U$14), FLOOR(IF(AB71 > Y71/100, 150000000/(AB71*(D71+AC71)), (150000000/(Y71*(D71+AC71)))),1), FLOOR(IF(AB71 > Y71/100, 400000000/(AB71*(D71+AC71)), (400000000/(Y71*(D71+AC71)))),1))","v":23},23,8.7495091200000008,7920,6004]
["HR","HR-50000C",7920,6004,47.551679999999998,"Color","10GigE-SFP+",4.5999999999999996,45.717246664251341,"CMV50000","M52/F/EF","MONO/BAYXX8",8,23,55,14500,8.8000000000000007,64.337706601696127,41.613680022349754,null,null,null,null,8,1043,127.74193548387096,1043,1043,150,23,23,8.7495091200000008,7920,6004]
["HR","HR-25000SB-M",5320,4600,24.472000000000001,"Mono","10GigE-SFP+",2.74,19.270285785114865,"IMX530","C-Mount","MONO/BAYXX8",8,51,78,{"$f":"IF( OR((L73=U$5),(L73=U$6),(L73=U$7),(L73=U$8),(L73=U$9)), 9500/4, 9500)","v":2375},2,{"$f":"IF(20*LOG10(P73/Q73)<72, 20*LOG10(P73/Q73), 72)","v":61.492672365938084},{"$f":"20*LOG10(SQRT(P73))","v":33.756636139608858},null,null,null,null,8,{"$f":"IF( OR((L73=U$5),(L73=U$6),(L73=U$7),(L73=U$8),(L73=U$9)), 600, 1029)","v":600},85.806451612903231,600,{"$f":"IF(AA73 > Y73, AA73, Y73)","v":600},240,51,51,9.9845760000000006,5320,4600]
["HR","HR-25000SB-C",5320,4600,24.472000000000001,"Color","10GigE-SFP+",2.74,19.270285785114865,"IMX530","C-Mount","MONO/BAYXX8",8,51,72,2375,2,{"$f":"IF(20*LOG10(P74/Q74)<72, 20*LOG10(P74/Q74), 72)","v":61.492672365938084},{"$f":"20*LOG10(SQRT(P74))","v":33.756636139608858},null,null,null,null,8,{"$f":"IF( OR((L74=U$5),(L74=U$6),(L74=U$7),(L74=U$8),(L74=U$9)), 600, 1029)","v":600},85.806451612903231,600,{"$f":"IF(AA74 > Y74, AA74, Y74)","v":600},240,51,51,9.9845760000000006,5320,4600]
["HR","HR-20000SB-M",4504,4504,20.286016,"Mono","10GigE-SFP+",2.74,{"$f":"SQRT(C75^2+D75^2)*H75*0.001","v":17.452753004703872},"IMX531","C-Mount","MONO/BAYXX8",8,61,78,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L75=U$5),(L75=U$6),(L75=U$7),(L75=U$8),(L75=U$9)), 510, 871)","v":510},{"$f":"IF(OR(G75=$U$13, G75=$U$14),C75*150/9300, C75*400/24000)","v":72.645161290322577},510,510,240,61,61,9.8995758079999998,4504,4504]
["HR","HR-20000SB-C",4504,4504,{"$f":"(C76*D76)/1000000","v":20.286016},"Color","10GigE-SFP+",2.74,17.452753004703872,"IMX531","C-Mount","MONO/BAYXX8",8,{"$f":"AE76","v":61},72,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L76=U$5),(L76=U$6),(L76=U$7),(L76=U$8),(L76=U$9)), 510, 871)","v":510},72.645161290322577,510,510,240,61,61,9.8995758079999998,4504,4504]
["HR","HR-16000SB-M",5320,3032,16.130240000000001,"Mono","10GigE-SFP+",2.74,16.777980963822792,"IMX532","C-Mount","MONO/BAYXX8",8,77,78,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L77=U$5),(L77=U$6),(L77=U$7),(L77=U$8),(L77=U$9)), 588, 1029)","v":588},85.806451612903231,588,588,240,77,77,9.9362278400000008,5320,3032]
["HR","HR-16000SB-C",5320,3032,16.130240000000001,"Color","10GigE-SFP+",2.74,16.777980963822792,"IMX532","C-Mount","MONO/BAYXX8",8,77,72,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L78=U$5),(L78=U$6),(L78=U$7),(L78=U$8),(L78=U$9)), 588, 1029)","v":588},85.806451612903231,588,588,240,77,77,9.9362278400000008,5320,3032]
["HR","HR-12000SB-M",4096,3000,12.288,"Mono","10GigE-SFP+",2.74,13.911327285403074,"IMX535","C-Mount","MONO/BAYXX8",8,102,78,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L79=U$5),(L79=U$6),(L79=U$7),(L79=U$8),(L79=U$9)), 450, 792)","v":450},66.064516129032256,450,450,240,102,102,10.027008,4096,3000]
["HR","HR-12000SB-C",4096,3000,12.288,"Color","10GigE-SFP+",2.74,13.911327285403074,"IMX535","C-Mount","MONO/BAYXX8",8,102,72,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L80=U$5),(L80=U$6),(L80=U$7),(L80=U$8),(L80=U$9)), 450, 792)","v":450},66.064516129032256,450,450,240,102,102,10.027008,4096,3000]
["HR","HR-8000SB-M",2840,2840,8.0655999999999999,"Mono","10GigE-SFP+",2.74,11.004844256962478,"IMX536","C-Mount","MONO/BAYXX8",8,154,78,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L81=U$5),(L81=U$6),(L81=U$7),(L81=U$8),(L81=U$9)), 315, 549)","v":315},45.806451612903224,315,315,240,154,154,{"$f":"AE81*C81*D81*X81/1000000000","v":9.9368192000000004},2840,2840]
["HR","HR-8000SB-C",2840,2840,8.0655999999999999,"Color","10GigE-SFP+",2.74,11.004844256962478,"IMX536","C-Mount","MONO/BAYXX8",8,154,72,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L82=U$5),(L82=U$6),(L82=U$7),(L82=U$8),(L82=U$9)), 315, 549)","v":315},45.806451612903224,315,315,240,154,154,9.9368192000000004,2840,2840]
["HR","HR-5000SB-M",2448,2048,5.0135040000000002,"Mono","10GigE-SFP+",2.74,8.7452833722412908,"IMX537","C-Mount","MONO/BAYXX8",8,247,78,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L83=U$5),(L83=U$6),(L83=U$7),(L83=U$8),(L83=U$9)), 265, 473)","v":265},39.483870967741936,265,265,240,247,247,9.9066839039999994,2448,2048]
["HR","HR-5000SB-C",2448,2048,5.0135040000000002,"Color","10GigE-SFP+",2.74,8.7452833722412908,"IMX537","C-Mount","MONO/BAYXX8",8,247,72,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L84=U$5),(L84=U$6),(L84=U$7),(L84=U$8),(L84=U$9)), 265, 473)","v":265},39.483870967741936,265,265,240,247,247,9.9066839039999994,2448,2048]
["HR","HR-30000S-M",6464,4852,31.363327999999999,"Mono","10GigE-SFP+",3.45,27.884282185489376,"IMX342","M52/F/EF","MONO/BAYXX8",8,35,68,{"$f":"IF( OR((L85=U$5),(L85=U$6),(L85=U$7),(L85=U$8),(L85=U$9)), 11000/4, 11000)","v":2750},2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L85=U$5),(L85=U$6),(L85=U$7),(L85=U$8),(L85=U$9)), 860, 1175)","v":860},{"$f":"IF(OR(G85=$U$13, G85=$U$14),C85*150/9900, C85*400/24000)","v":97.939393939393938},860,860,80,35,{"$f":"FLOOR(IF((10 > (1000000/AD85)-AC85), (1000000/(AC85+10)), AD85),1)","v":35},8.7817318400000008,6464,4852]
["HR","HR-30000S-C",6464,4852,31.363327999999999,"Color","10GigE-SFP+",3.45,27.884282185489376,"IMX342","M52/F/EF","MONO/BAYXX8",8,35,63,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L86=U$5),(L86=U$6),(L86=U$7),(L86=U$8),(L86=U$9)), 860, 1175)","v":860},{"$f":"IF(OR(G86=$U$13, G86=$U$14),C86*150/9900, C86*400/24000)","v":97.939393939393938},860,860,80,35,35,8.7817318400000008,6464,4852]
["HR","HR-20000S-M",4416,4428,19.554048000000002,"Mono","10GigE-SFP+",3.45,21.575120546592554,"IMX367","M52/F/EF","MONO/BAYXX8",8,43,68,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L87=U$5),(L87=U$6),(L87=U$7),(L87=U$8),(L87=U$9)), 770, 1175)","v":770},{"$f":"IF(OR(G87=$U$13, G87=$U$14),C87*150/9300, C87*400/24000)","v":71.225806451612897},770,770,80,43,43,6.7265925119999999,4416,4428]
["HR","HR-20000S-C",4416,4428,19.554048000000002,"Color","10GigE-SFP+",3.45,21.575120546592554,"IMX367","M52/F/EF","MONO/BAYXX8",8,43,63,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L88=U$5),(L88=U$6),(L88=U$7),(L88=U$8),(L88=U$9)), 770, 1175)","v":770},{"$f":"IF(OR(G88=$U$13, G88=$U$14),C88*150/9300, C88*400/24000)","v":71.225806451612897},770,770,80,43,43,6.7265925119999999,4416,4428]
["HR","HR-17000S-M",5456,3076,16.782655999999999,"Mono","10GigE-SFP+",3.45,21.60860122914022,"IMX387","M52/F/EF","MONO/BAYXX8",8,61,68,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L89=U$5),(L89=U$6),(L89=U$7),(L89=U$8),(L89=U$9)), 770, 1175)","v":770},{"$f":"IF(OR(G89=$U$13, G89=$U$14),C89*150/9300, C89*400/24000)","v":88},770,770,80,61,61,8.1899361279999994,5456,3076]
["HR","HR-17000S-C",5456,3076,16.782655999999999,"Color","10GigE-SFP+",3.45,21.60860122914022,"IMX387","M52/F/EF","MONO/BAYXX8",8,61,63,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L90=U$5),(L90=U$6),(L90=U$7),(L90=U$8),(L90=U$9)), 770, 1175)","v":770},{"$f":"IF(OR(G90=$U$13, G90=$U$14),C90*150/9300, C90*400/24000)","v":88},770,770,80,61,61,8.1899361279999994,5456,3076]
["HR","HR-7000S-M",3208,2200,7.0575999999999999,"Mono","10GigE-SFP+",4.5,17.504516445763361,"IMX420","C-Mount","MONO/BAYXX8",8,176,74,{"$f":"IF( OR((L91=U$5),(L91=U$6),(L91=U$7),(L91=U$8),(L91=U$9)), 25000/4, 25000)","v":6250},2.5,67.95880017344075,37.958800173440757,null,null,null,null,8,{"$f":"IF( OR((L91=U$5),(L91=U$6),(L91=U$7),(L91=U$8),(L91=U$9)), 370, 485)","v":370},{"$f":"IF(OR(G91=$U$13, G91=$U$14),C91*150/9900, C91*400/24000)","v":48.606060606060609},370,370,92,176,176,9.9371007999999996,3208,2200]
["HR","HR-7000S-C",3208,2200,7.0575999999999999,"Color","10GigE-SFP+",4.5,17.504516445763361,"IMX420","C-Mount","MONO/BAYXX8",8,176,69,6250,2.5,67.95880017344075,37.958800173440757,null,null,null,null,8,{"$f":"IF( OR((L92=U$5),(L92=U$6),(L92=U$7),(L92=U$8),(L92=U$9)), 370, 485)","v":370},{"$f":"IF(OR(G92=$U$13, G92=$U$14),C92*150/9900, C92*400/24000)","v":48.606060606060609},370,370,92,176,176,9.9371007999999996,3208,2200]
["HR","HR-2800S-M",1936,1464,2.8343039999999999,"Mono","10GigE-SFP+",4.5,10.92248543143913,"IMX421","C-Mount","MONO/BAYXX8",8,410,74,6250,2.5,67.95880017344075,37.958800173440757,null,null,null,null,8,{"$f":"IF( OR((L93=U$5),(L93=U$6),(L93=U$7),(L93=U$8),(L93=U$9)), 234, 420)","v":234},{"$f":"IF(OR(G93=$U$13, G93=$U$14),C93*150/9300, C93*400/24000)","v":31.225806451612904},234,234,98,410,410,9.2965171200000007,1936,1464]
["HR","HR-2800S-C",1936,1464,2.8343039999999999,"Color","10GigE-SFP+",4.5,10.92248543143913,"IMX421","C-Mount","MONO/BAYXX8",8,410,69,6250,2.5,67.95880017344075,37.958800173440757,null,null,null,null,8,{"$f":"IF( OR((L94=U$5),(L94=U$6),(L94=U$7),(L94=U$8),(L94=U$9)), 234, 420)","v":234},{"$f":"IF(OR(G94=$U$13, G94=$U$14),C94*150/9300, C94*400/24000)","v":31.225806451612904},234,234,98,410,410,9.2965171200000007,1936,1464]
["HR","HR-2000S-M",1624,1240,2.01376,"Mono","10GigE-SFP+",4.5,9.1947411056538186,"IMX422","C-Mount","MONO/BAYXX8",8,485,74,6250,2.5,67.95880017344075,37.958800173440757,null,null,null,null,8,{"$f":"IF( OR((L95=U$5),(L95=U$6),(L95=U$7),(L95=U$8),(L95=U$9)), 234, 420)","v":234},{"$f":"IF(OR(G95=$U$13, G95=$U$14),C95*150/9300, C95*400/24000)","v":26.193548387096776},234,234,80,485,485,7.8133888000000002,1624,1240]
["HR","HR-2000S-C",1624,1240,2.01376,"Color","10GigE-SFP+",4.5,9.1947411056538186,"IMX422","C-Mount","MONO/BAYXX8",8,485,69,6250,2.5,67.95880017344075,37.958800173440757,null,null,null,null,8,{"$f":"IF( OR((L96=U$5),(L96=U$6),(L96=U$7),(L96=U$8),(L96=U$9)), 234, 420)","v":234},{"$f":"IF(OR(G96=$U$13, G96=$U$14),C96*150/9300, C96*400/24000)","v":26.193548387096776},234,234,80,485,485,7.8133888000000002,1624,1240]
["HR","HR-1800S-M",1604,1100,1.7644,"Mono","10GigE-SFP+",9,17.504516445763361,"IMX425","C-Mount","MONO/BAYXX8",8,660,74,{"$f":"IF( OR((L97=U$5),(L97=U$6),(L97=U$7),(L97=U$8),(L97=U$9)), 100000/4, 100000)","v":25000},2.5,72,43.979400086720375,null,null,null,null,8,{"$f":"IF( OR((L97=U$5),(L97=U$6),(L97=U$7),(L97=U$8),(L97=U$9)), 177, 246)","v":177},{"$f":"IF(OR(G97=$U$13, G97=$U$14),C97*150/9900, C97*400/24000)","v":24.303030303030305},177,177,184,660,660,9.3160319999999999,1604,1100]
["HR","HR-1800S-C",1604,1100,1.7644,"Color","10GigE-SFP+",9,17.504516445763361,"IMX425","C-Mount","MONO/BAYXX8",8,660,69,{"$f":"IF( OR((L98=U$5),(L98=U$6),(L98=U$7),(L98=U$8),(L98=U$9)), 100000/4, 100000)","v":25000},2.5,72,43.979400086720375,null,null,null,null,8,{"$f":"IF( OR((L98=U$5),(L98=U$6),(L98=U$7),(L98=U$8),(L98=U$9)), 177, 246)","v":177},{"$f":"IF(OR(G98=$U$13, G98=$U$14),C98*150/9900, C98*400/24000)","v":24.303030303030305},177,177,184,660,660,9.3160319999999999,1604,1100]
["HR","HR-500S-M",812,620,0.50344,"Mono","10GigE-SFP+",9,9.1947411056538186,"IMX426","C-Mount","MONO/BAYXX8",8,1586,74,{"$f":"IF( OR((L99=U$5),(L99=U$6),(L99=U$7),(L99=U$8),(L99=U$9)), 100000/4, 100000)","v":25000},2.5,72,43.979400086720375,null,null,null,null,8,{"$f":"IF( OR((L99=U$5),(L99=U$6),(L99=U$7),(L99=U$8),(L99=U$9)), 122, 215)","v":122},{"$f":"IF(OR(G99=$U$13, G99=$U$14),C99*150/9300, C99*400/24000)","v":13.096774193548388},122,122,155,1586,1586,6.3876467200000002,812,620]
["HR","HR-500S-C",812,620,0.50344,"Color","10GigE-SFP+",9,9.1947411056538186,"IMX426","C-Mount","MONO/BAYXX8",8,1586,69,{"$f":"IF( OR((L100=U$5),(L100=U$6),(L100=U$7),(L100=U$8),(L100=U$9)), 100000/4, 100000)","v":25000},2.5,72,43.979400086720375,null,null,null,null,8,{"$f":"IF( OR((L100=U$5),(L100=U$6),(L100=U$7),(L100=U$8),(L100=U$9)), 122, 215)","v":122},13.096774193548388,122,122,155,1586,1586,6.3876467200000002,812,620]
["HR","HR-25000SBL-M",5320,4600,24.472000000000001,"Mono","10GigE-SFP+",2.74,19.270285785114865,"IMX540","C-Mount","MONO/BAYXX8",8,35,78,{"$f":"IF( OR((L101=U$5),(L101=U$6),(L101=U$7),(L101=U$8),(L101=U$9)), 9500/4, 9500)","v":2375},2,{"$f":"IF(20*LOG10(P101/Q101)<72, 20*LOG10(P101/Q101), 72)","v":61.492672365938084},{"$f":"20*LOG10(SQRT(P101))","v":33.756636139608858},null,null,null,null,{"$f":"IF(   OR((L101= U$8), (L101 = U$10)),   16,    IF(OR((L101 = U$6), (L101 = U$9)), 24,      IF((L101 = U$5), 8, 12)  ))","v":8},{"$f":"IF( OR((L101=U$5),(L101=U$6),(L101=U$7),(L101=U$8),(L101=U$9)), 880, 1240)","v":880},85.806451612903231,{"$f":"FLOOR(     IF(OR((L101= U$8),(L101= U$10)), Z101*16,    IF(OR((L101 = U$6), (L101 = U$9)), Z101*24,  IF((L101 = U$5),Y101, Z101*12))    ),1)","v":880},{"$f":"IF(AA101 > Y101, AA101, Y101)","v":880},240,35,{"$f":"FLOOR(IF((10 > (1000000/AD101)-AC101), (1000000/(AC101+10)), AD101),1)","v":35},6.8521599999999996,5320,4600]
["HR","HR-25000SBL-C",5320,4600,24.472000000000001,"Color","10GigE-SFP+",2.74,19.270285785114865,"IMX540","C-Mount","MONO/BAYXX8",8,35,72,2375,2,{"$f":"IF(20*LOG10(P102/Q102)<72, 20*LOG10(P102/Q102), 72)","v":61.492672365938084},{"$f":"20*LOG10(SQRT(P102))","v":33.756636139608858},null,null,null,null,8,{"$f":"IF( OR((L102=U$5),(L102=U$6),(L102=U$7),(L102=U$8),(L102=U$9)), 880, 1240)","v":880},85.806451612903231,880,{"$f":"IF(AA102 > Y102, AA102, Y102)","v":880},240,35,35,6.8521599999999996,5320,4600]
["HR","HR-20000SBL-M",4504,4504,20.286016,"Mono","10GigE-SFP+",2.74,{"$f":"SQRT(C103^2+D103^2)*H103*0.001","v":17.452753004703872},"IMX541","C-Mount","MONO/BAYXX8",{"$f":"IF( OR((L103=U$5),(L103=U$6),(L103=U$7),(L103=U$8),(L103=U$9)), 8, 12)","v":8},43,78,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L103=U$5),(L103=U$6),(L103=U$7),(L103=U$8),(L103=U$9)), 720, 1070)","v":720},72.645161290322577,720,720,240,{"$f":"IF(OR(G103=$U$13, G103=$U$14), FLOOR(IF(AB103 > Y103/100, 150000000/(AB103*(D103+AC103)), (150000000/(Y103*(D103+AC103)))),1), FLOOR(IF(AB103 > Y103/100, 400000000/(AB103*(D103+AC103)), (400000000/(Y103*(D103+AC103)))),1))","v":43},43,6.9783895039999999,4504,4504]
["HR","HR-20000SBL-C",4504,4504,{"$f":"(C104*D104)/1000000","v":20.286016},"Color","10GigE-SFP+",2.74,17.452753004703872,"IMX541","C-Mount","MONO/BAYXX8",8,{"$f":"AE104","v":43},72,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L104=U$5),(L104=U$6),(L104=U$7),(L104=U$8),(L104=U$9)), 720, 1070)","v":720},72.645161290322577,720,720,240,43,43,6.9783895039999999,4504,4504]
["HR","HR-16000SBL-M",5320,3032,16.130240000000001,"Mono","10GigE-SFP+",2.74,16.777980963822792,"IMX542","C-Mount","MONO/BAYXX8",8,52,78,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L105=U$5),(L105=U$6),(L105=U$7),(L105=U$8),(L105=U$9)), 870, 1240)","v":870},85.806451612903231,870,870,240,52,52,6.7101798400000003,5320,3032]
["HR","HR-16000SBL-C",5320,3032,16.130240000000001,"Color","10GigE-SFP+",2.74,16.777980963822792,"IMX542","C-Mount","MONO/BAYXX8",8,52,72,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L106=U$5),(L106=U$6),(L106=U$7),(L106=U$8),(L106=U$9)), 870, 1240)","v":870},85.806451612903231,870,870,240,52,52,6.7101798400000003,5320,3032]
["HR","HR-12000SBL-M",4096,3000,12.288,"Mono","10GigE-SFP+",2.74,13.911327285403074,"IMX545","C-Mount","MONO/BAYXX8",8,68,78,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L107=U$5),(L107=U$6),(L107=U$7),(L107=U$8),(L107=U$9)), 680, 1000)","v":680},66.064516129032256,680,680,240,68,68,6.6846719999999999,4096,3000]
["HR","HR-12000SBL-C",4096,3000,12.288,"Color","10GigE-SFP+",2.74,13.911327285403074,"IMX545","C-Mount","MONO/BAYXX8",8,68,72,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L108=U$5),(L108=U$6),(L108=U$7),(L108=U$8),(L108=U$9)), 680, 1000)","v":680},66.064516129032256,680,680,240,68,68,6.6846719999999999,4096,3000]
["HR","HR-8000SBL-M",2840,2840,8.0655999999999999,"Mono","10GigE-SFP+",2.74,11.004844256962478,"IMX546","C-Mount","MONO/BAYXX8",8,73,78,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L109=U$5),(L109=U$6),(L109=U$7),(L109=U$8),(L109=U$9)), 660, 910)","v":660},45.806451612903224,660,660,240,73,73,{"$f":"AE109*C109*D109*X109/1000000000","v":4.7103104},2840,2840]
["HR","HR-8000SBL-C",2840,2840,8.0655999999999999,"Color","10GigE-SFP+",2.74,11.004844256962478,"IMX546","C-Mount","MONO/BAYXX8",8,73,72,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L110=U$5),(L110=U$6),(L110=U$7),(L110=U$8),(L110=U$9)), 660, 910)","v":660},45.806451612903224,660,660,240,73,73,4.7103104,2840,2840]
["HR","HR-5000SBL-M",2448,2048,5.0135040000000002,"Mono","10GigE-SFP+",2.74,8.7452833722412908,"IMX547","C-Mount","MONO/BAYXX8",8,99,78,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L111=U$5),(L111=U$6),(L111=U$7),(L111=U$8),(L111=U$9)), 660, 900)","v":660},39.483870967741936,660,660,240,99,99,3.9706951680000002,2448,2048]
["HR","HR-5000SBL-C",2448,2048,5.0135040000000002,"Color","10GigE-SFP+",2.74,8.7452833722412908,"IMX547","C-Mount","MONO/BAYXX8",8,99,72,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L112=U$5),(L112=U$6),(L112=U$7),(L112=U$8),(L112=U$9)), 660, 900)","v":660},39.483870967741936,660,660,240,99,99,3.9706951680000002,2448,2048]
["HT","HT-12000S-M",4096,3000,12.288,"Mono","10GigE-BaseT",3.45,17.516087275416279,"IMX253","C-Mount","MONO/BAYXX8",8,80,68,{"$f":"IF( OR((L113=U$5),(L113=U$6),(L113=U$7),(L113=U$8),(L113=U$9)), 11000/4, 11000)","v":2750},2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L113=U$5),(L113=U$6),(L113=U$7),(L113=U$8),(L113=U$9)), 610, 1054)","v":610},66.064516129032256,610,610,63,80,80,7.8643200000000002,4096,3000]
["HT","HT-12000S-C",4096,3000,12.288,"Color","10GigE-BaseT",3.45,17.516087275416279,"IMX253","C-Mount","MONO/BAYXX8",8,80,63,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L114=U$5),(L114=U$6),(L114=U$7),(L114=U$8),(L114=U$9)), 610, 1054)","v":610},66.064516129032256,610,610,63,80,80,7.8643200000000002,4096,3000]
["HT","HT-8000S-M",4096,2160,8.8473600000000001,"Mono","10GigE-BaseT",3.45,15.975703973221338,"IMX255","C-Mount","MONO/BAYXX8",8,110,68,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L115=U$5),(L115=U$6),(L115=U$7),(L115=U$8),(L115=U$9)), 610, 1054)","v":610},66.064516129032256,610,610,71,110,110,7.7856768000000001,4096,2160]
["HT","HT-8000S-C",4096,2160,8.8473600000000001,"Color","10GigE-BaseT",3.45,15.975703973221338,"IMX255","C-Mount","MONO/BAYXX8",8,110,63,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L116=U$5),(L116=U$6),(L116=U$7),(L116=U$8),(L116=U$9)), 610, 1054)","v":610},66.064516129032256,610,610,71,110,110,7.7856768000000001,4096,2160]
["HT","HT-5000S-M",2448,2048,5.0135040000000002,"Mono","10GigE-BaseT",3.45,11.011396946800165,"IMX250","C-Mount","MONO/BAYXX8",8,163,68,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L117=U$5),(L117=U$6),(L117=U$7),(L117=U$8),(L117=U$9)), 438, 800)","v":438},39.483870967741936,438,438,47,163,163,6.5376092159999999,2448,2048]
["HT","HT-5000S-C",2448,2048,5.0135040000000002,"Color","10GigE-BaseT",3.45,11.011396946800165,"IMX250","C-Mount","MONO/BAYXX8",8,163,63,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L118=U$5),(L118=U$6),(L118=U$7),(L118=U$8),(L118=U$9)), 438, 800)","v":438},39.483870967741936,438,438,47,163,163,6.5376092159999999,2448,2048]
["HT","HT-3000S-M",2048,1536,3.1457280000000001,"Mono","10GigE-BaseT",3.45,8.8320000000000007,"IMX252","C-Mount","MONO/BAYXX8",8,216,68,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L119=U$5),(L119=U$6),(L119=U$7),(L119=U$8),(L119=U$9)), 438, 800)","v":438},33.032258064516128,438,438,47,216,216,5.4358179839999998,2048,1536]
["HT","HT-3000S-C",2048,1536,3.1457280000000001,"Color","10GigE-BaseT",3.45,8.8320000000000007,"IMX252","C-Mount","MONO/BAYXX8",8,216,63,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L120=U$5),(L120=U$6),(L120=U$7),(L120=U$8),(L120=U$9)), 438, 800)","v":438},33.032258064516128,438,438,47,216,216,5.4358179839999998,2048,1536]
["HT","HT-12000SP-M",4096,3000,12.288,"Mono","10GigE-BaseT",3.45,17.516087275416279,"IMX253","C-Mount","MONO/BAYXX8",8,80,68,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L121=U$5),(L121=U$6),(L121=U$7),(L121=U$8),(L121=U$9)), 610, 1054)","v":610},66.064516129032256,610,610,63,80,80,7.8643200000000002,4096,3000]
["HT","HT-12000SP-C",4096,3000,12.288,"Color","10GigE-BaseT",3.45,17.516087275416279,"IMX253","C-Mount","MONO/BAYXX8",8,80,63,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L122=U$5),(L122=U$6),(L122=U$7),(L122=U$8),(L122=U$9)), 610, 1054)","v":610},66.064516129032256,610,610,63,80,80,7.8643200000000002,4096,3000]
["HT","HT-5000SP-M",2448,2048,5.0135040000000002,"Mono","10GigE-BaseT",3.45,11.011396946800165,"IMX250","C-Mount","MONO/BAYXX8",8,163,68,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L123=U$5),(L123=U$6),(L123=U$7),(L123=U$8),(L123=U$9)), 438, 800)","v":438},39.483870967741936,438,438,47,163,163,6.5376092159999999,2448,2048]
["HT","HT-5000SP-C",2448,2048,5.0135040000000002,"Color","10GigE-BaseT",3.45,11.011396946800165,"IMX250","C-Mount","MONO/BAYXX8",8,163,63,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L124=U$5),(L124=U$6),(L124=U$7),(L124=U$8),(L124=U$9)), 438, 800)","v":438},39.483870967741936,438,438,47,163,163,6.5376092159999999,2448,2048]
["HT","HT-2000M",2048,1088,2.228224,"Mono","10GigE-BaseT",5.5,12.75484033612338,"CMV2000","C-Mount","MONO/BAYXX8",{"$f":"IF( OR((L125=U$5),(L125=U$6),(L125=U$7),(L125=U$8),(L125=U$9)), 8, 10)","v":8},338,62,13500,13,60.327808323763392,41.303337684950058,null,null,null,null,8,403,33.032258064516128,403,{"$f":"IF(AA125 > Y125, AA125, Y125)","v":403},10,338,338,6.0251176959999997,2048,1088]
["HT","HT-2000C",2048,1088,2.228224,"Color","10GigE-BaseT",5.5,12.75484033612338,"CMV2000","C-Mount","MONO/BAYXX8",8,338,48,13500,13,60.327808323763392,41.303337684950058,null,null,null,null,8,403,33.032258064516128,403,403,10,338,338,6.0251176959999997,2048,1088]
["HT","HT-2000N",2048,1088,2.228224,"Mono","10GigE-BaseT",5.5,12.75484033612338,"CMV2000","C-Mount","MONO/BAYXX8",8,338,62,13500,13,60.327808323763392,41.303337684950058,null,null,null,null,8,403,33.032258064516128,403,403,10,338,338,6.0251176959999997,2048,1088]
["HT","HT-4000M",2048,2048,4.1943039999999998,"Color","10GigE-BaseT",5.5,15.929701566570545,"CMV4000","C-Mount","MONO/BAYXX8",8,179,62,13500,13,60.327808323763392,41.303337684950058,null,null,null,null,8,403,33.032258064516128,403,403,30,179,179,6.006243328,2048,2048]
["HT","HT-4000C",2048,2048,4.1943039999999998,"Mono","10GigE-BaseT",5.5,15.929701566570545,"CMV4000","C-Mount","MONO/BAYXX8",8,179,48,13500,13,60.327808323763392,41.303337684950058,null,null,null,null,8,403,33.032258064516128,403,403,30,179,179,6.006243328,2048,2048]
["HT","HT-4000N",2048,2048,4.1943039999999998,"Color","10GigE-BaseT",5.5,15.929701566570545,"CMV4000","C-Mount","MONO/BAYXX8",8,179,62,13500,13,60.327808323763392,41.303337684950058,null,null,null,null,8,403,33.032258064516128,403,403,30,179,179,6.006243328,2048,2048]
["HT","HT-12000M",4096,3072,12.582912,"Mono","10GigE-BaseT",5.5,28.16,"CMV12000","M42","MONO/BAYXX8",8,84,62,13500,13,60.327808323763392,41.303337684950058,null,null,null,null,8,{"$f":"IF( OR((L131=U$5),(L131=U$6),(L131=U$7),(L131=U$8),(L131=U$9)), 574, 717)","v":574},{"$f":"IF(OR(G131=$U$13, G131=$U$14),C131*150/9300, C131*400/24000)","v":66.064516129032256},574,574,30,84,84,8.4557168639999993,4096,3072]
["HT","HT-12000C",4096,3072,12.582912,"Color","10GigE-BaseT",5.5,28.16,"CMV12000","M42","MONO/BAYXX8",8,84,48,13500,13,60.327808323763392,41.303337684950058,null,null,null,null,8,{"$f":"IF( OR((L132=U$5),(L132=U$6),(L132=U$7),(L132=U$8),(L132=U$9)), 574, 717)","v":574},66.064516129032256,574,574,30,84,84,8.4557168639999993,4096,3072]
["HT","HT-20000M",5120,3840,19.660799999999998,"Mono","10GigE-BaseT",6.4,40.96,"CMV20000","M52/F/EF","MONO/BAYXX8",8,32,62,15000,8,65.460025441274752,41.760912590556813,null,null,null,null,{"$f":"IF(   OR((L133= U$8), (L133 = U$10)),   16,    IF(OR((L133 = U$6), (L133 = U$9)), 24,      IF((L133 = U$5), 8, 12)  ))","v":8},1202,82.58064516129032,{"$f":"FLOOR(     IF(OR((L133= U$8),(L133= U$10)), Z133*16,    IF(OR((L133 = U$6), (L133 = U$9)), Z133*24,  IF((L133 = U$5),Y133, Z133*12))    ),1)","v":1202},1202,50,32,32,5.0331647999999998,5120,3840]
["HT","HT-20000C",5120,3840,19.660799999999998,"Color","10GigE-BaseT",6.4,40.96,"CMV20000","M52/F/EF","MONO/BAYXX8",8,32,48,15000,8,65.460025441274752,41.760912590556813,null,null,null,null,8,1202,82.58064516129032,1202,1202,50,32,32,5.0331647999999998,5120,3840]
["HT","HT-50000M",7920,6004,47.551679999999998,"Mono","10GigE-BaseT",4.5999999999999996,45.717246664251341,"CMV50000","M52/F/EF","MONO/BAYXX8",{"$f":"IF( OR((L135=U$5),(L135=U$6),(L135=U$7),(L135=U$8),(L135=U$9)), 8, 12)","v":8},23,61,14500,8.8000000000000007,64.337706601696127,41.613680022349754,null,null,null,null,8,1043,127.74193548387096,1043,1043,150,{"$f":"IF(OR(G135=$U$13, G135=$U$14), FLOOR(IF(AB135 > Y135/100, 150000000/(AB135*(D135+AC135)), (150000000/(Y135*(D135+AC135)))),1), FLOOR(IF(AB135 > Y135/100, 400000000/(AB135*(D135+AC135)), (400000000/(Y135*(D135+AC135)))),1))","v":23},23,8.7495091200000008,7920,6004]
["HT","HT-50000C",7920,6004,47.551679999999998,"Color","10GigE-BaseT",4.5999999999999996,45.717246664251341,"CMV50000","M52/F/EF","MONO/BAYXX8",8,23,55,14500,8.8000000000000007,64.337706601696127,41.613680022349754,null,null,null,null,8,1043,127.74193548387096,1043,1043,150,23,23,8.7495091200000008,7920,6004]
["HT","HT-25000SB-M",5320,4600,24.472000000000001,"Mono","10GigE-BaseT",2.74,19.270285785114865,"IMX530","C-Mount","MONO/BAYXX8",8,51,78,{"$f":"IF( OR((L137=U$5),(L137=U$6),(L137=U$7),(L137=U$8),(L137=U$9)), 9500/4, 9500)","v":2375},2,{"$f":"IF(20*LOG10(P137/Q137)<72, 20*LOG10(P137/Q137), 72)","v":61.492672365938084},{"$f":"20*LOG10(SQRT(P137))","v":33.756636139608858},null,null,null,null,8,{"$f":"IF( OR((L137=U$5),(L137=U$6),(L137=U$7),(L137=U$8),(L137=U$9)), 600, 1029)","v":600},85.806451612903231,600,{"$f":"IF(AA137 > Y137, AA137, Y137)","v":600},240,51,51,9.9845760000000006,5320,4600]
["HT","HT-25000SB-C",5320,4600,24.472000000000001,"Color","10GigE-BaseT",2.74,19.270285785114865,"IMX530","C-Mount","MONO/BAYXX8",8,51,72,2375,2,{"$f":"IF(20*LOG10(P138/Q138)<72, 20*LOG10(P138/Q138), 72)","v":61.492672365938084},{"$f":"20*LOG10(SQRT(P138))","v":33.756636139608858},null,null,null,null,8,{"$f":"IF( OR((L138=U$5),(L138=U$6),(L138=U$7),(L138=U$8),(L138=U$9)), 600, 1029)","v":600},85.806451612903231,600,{"$f":"IF(AA138 > Y138, AA138, Y138)","v":600},240,51,51,9.9845760000000006,5320,4600]
["HT","HT-20000SB-M",4504,4504,20.286016,"Mono","10GigE-BaseT",2.74,{"$f":"SQRT(C139^2+D139^2)*H139*0.001","v":17.452753004703872},"IMX531","C-Mount","MONO/BAYXX8",8,61,78,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L139=U$5),(L139=U$6),(L139=U$7),(L139=U$8),(L139=U$9)), 510, 871)","v":510},72.645161290322577,510,510,240,61,61,9.8995758079999998,4504,4504]
["HT","HT-20000SB-C",4504,4504,{"$f":"(C140*D140)/1000000","v":20.286016},"Color","10GigE-BaseT",2.74,17.452753004703872,"IMX531","C-Mount","MONO/BAYXX8",8,{"$f":"AE140","v":61},72,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L140=U$5),(L140=U$6),(L140=U$7),(L140=U$8),(L140=U$9)), 510, 871)","v":510},72.645161290322577,510,510,240,61,61,9.8995758079999998,4504,4504]
["HT","HT-16000SB-M",5320,3032,16.130240000000001,"Mono","10GigE-BaseT",2.74,16.777980963822792,"IMX532","C-Mount","MONO/BAYXX8",8,77,78,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L141=U$5),(L141=U$6),(L141=U$7),(L141=U$8),(L141=U$9)), 588, 1029)","v":588},85.806451612903231,588,588,240,77,77,9.9362278400000008,5320,3032]
["HT","HT-16000SB-C",5320,3032,16.130240000000001,"Color","10GigE-BaseT",2.74,16.777980963822792,"IMX532","C-Mount","MONO/BAYXX8",8,77,72,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L142=U$5),(L142=U$6),(L142=U$7),(L142=U$8),(L142=U$9)), 588, 1029)","v":588},85.806451612903231,588,588,240,77,77,9.9362278400000008,5320,3032]
["HT","HT-12000SB-M",4096,3000,12.288,"Mono","10GigE-BaseT",2.74,13.911327285403074,"IMX535","C-Mount","MONO/BAYXX8",8,102,78,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L143=U$5),(L143=U$6),(L143=U$7),(L143=U$8),(L143=U$9)), 450, 792)","v":450},66.064516129032256,450,450,240,102,102,10.027008,4096,3000]
["HT","HT-12000SB-C",4096,3000,12.288,"Color","10GigE-BaseT",2.74,13.911327285403074,"IMX535","C-Mount","MONO/BAYXX8",8,102,72,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L144=U$5),(L144=U$6),(L144=U$7),(L144=U$8),(L144=U$9)), 450, 792)","v":450},66.064516129032256,450,450,240,102,102,10.027008,4096,3000]
["HT","HT-8000SB-M",2840,2840,8.0655999999999999,"Mono","10GigE-BaseT",2.74,11.004844256962478,"IMX536","C-Mount","MONO/BAYXX8",8,154,78,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L145=U$5),(L145=U$6),(L145=U$7),(L145=U$8),(L145=U$9)), 315, 549)","v":315},45.806451612903224,315,315,240,154,154,{"$f":"AE145*C145*D145*X145/1000000000","v":9.9368192000000004},2840,2840]
["HT","HT-8000SB-C",2840,2840,8.0655999999999999,"Color","10GigE-BaseT",2.74,11.004844256962478,"IMX536","C-Mount","MONO/BAYXX8",8,154,72,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L146=U$5),(L146=U$6),(L146=U$7),(L146=U$8),(L146=U$9)), 315, 549)","v":315},45.806451612903224,315,315,240,154,154,9.9368192000000004,2840,2840]
["HT","HT-5000SB-M",2448,2048,5.0135040000000002,"Mono","10GigE-BaseT",2.74,8.7452833722412908,"IMX537","C-Mount","MONO/BAYXX8",8,247,78,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L147=U$5),(L147=U$6),(L147=U$7),(L147=U$8),(L147=U$9)), 265, 473)","v":265},39.483870967741936,265,265,240,247,247,9.9066839039999994,2448,2048]
["HT","HT-5000SB-C",2448,2048,5.0135040000000002,"Color","10GigE-BaseT",2.74,8.7452833722412908,"IMX537","C-Mount","MONO/BAYXX8",8,247,72,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L148=U$5),(L148=U$6),(L148=U$7),(L148=U$8),(L148=U$9)), 265, 473)","v":265},39.483870967741936,265,265,240,247,247,9.9066839039999994,2448,2048]
["HT","HT-30000S-M",6464,4852,31.363327999999999,"Mono","10GigE-BaseT",3.45,27.884282185489376,"IMX342","M52/F/EF","MONO/BAYXX8",8,35,68,{"$f":"IF( OR((L149=U$5),(L149=U$6),(L149=U$7),(L149=U$8),(L149=U$9)), 11000/4, 11000)","v":2750},2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L149=U$5),(L149=U$6),(L149=U$7),(L149=U$8),(L149=U$9)), 860, 1175)","v":860},{"$f":"IF(OR(G149=$U$13, G149=$U$14),C149*150/9900, C149*400/24000)","v":97.939393939393938},860,860,80,35,35,8.7817318400000008,6464,4852]
["HT","HT-30000S-C",6464,4852,31.363327999999999,"Color","10GigE-BaseT",3.45,27.884282185489376,"IMX342","M52/F/EF","MONO/BAYXX8",8,35,63,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L150=U$5),(L150=U$6),(L150=U$7),(L150=U$8),(L150=U$9)), 860, 1175)","v":860},{"$f":"IF(OR(G150=$U$13, G150=$U$14),C150*150/9900, C150*400/24000)","v":97.939393939393938},860,860,80,35,35,8.7817318400000008,6464,4852]
["HT","HT-20000S-M",4416,4428,19.554048000000002,"Mono","10GigE-BaseT",3.45,21.575120546592554,"IMX367","M52/F/EF","MONO/BAYXX8",8,43,68,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L151=U$5),(L151=U$6),(L151=U$7),(L151=U$8),(L151=U$9)), 770, 1175)","v":770},{"$f":"IF(OR(G151=$U$13, G151=$U$14),C151*150/9300, C151*400/24000)","v":71.225806451612897},770,770,80,43,43,6.7265925119999999,4416,4428]
["HT","HT-20000S-C",4416,4428,19.554048000000002,"Color","10GigE-BaseT",3.45,21.575120546592554,"IMX367","M52/F/EF","MONO/BAYXX8",8,43,63,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L152=U$5),(L152=U$6),(L152=U$7),(L152=U$8),(L152=U$9)), 770, 1175)","v":770},{"$f":"IF(OR(G152=$U$13, G152=$U$14),C152*150/9300, C152*400/24000)","v":71.225806451612897},770,770,80,43,43,6.7265925119999999,4416,4428]
["HT","HT-17000S-M",5456,3076,16.782655999999999,"Mono","10GigE-BaseT",3.45,21.60860122914022,"IMX387","M52/F/EF","MONO/BAYXX8",8,61,68,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L153=U$5),(L153=U$6),(L153=U$7),(L153=U$8),(L153=U$9)), 770, 1175)","v":770},{"$f":"IF(OR(G153=$U$13, G153=$U$14),C153*150/9300, C153*400/24000)","v":88},770,770,80,61,61,8.1899361279999994,5456,3076]
["HT","HT-17000S-C",5456,3076,16.782655999999999,"Color","10GigE-BaseT",3.45,21.60860122914022,"IMX387","M52/F/EF","MONO/BAYXX8",8,61,63,2750,2,62.766053963325632,34.393326938302629,null,null,null,null,8,{"$f":"IF( OR((L154=U$5),(L154=U$6),(L154=U$7),(L154=U$8),(L154=U$9)), 770, 1175)","v":770},{"$f":"IF(OR(G154=$U$13, G154=$U$14),C154*150/9300, C154*400/24000)","v":88},770,770,80,61,61,8.1899361279999994,5456,3076]
["HT","HT-7000S-M",3208,2200,7.0575999999999999,"Mono","10GigE-BaseT",4.5,17.504516445763361,"IMX420","C-Mount","MONO/BAYXX8",8,176,74,{"$f":"IF( OR((L155=U$5),(L155=U$6),(L155=U$7),(L155=U$8),(L155=U$9)), 25000/4, 25000)","v":6250},2.5,67.95880017344075,37.958800173440757,null,null,null,null,8,{"$f":"IF( OR((L155=U$5),(L155=U$6),(L155=U$7),(L155=U$8),(L155=U$9)), 370, 485)","v":370},{"$f":"IF(OR(G155=$U$13, G155=$U$14),C155*150/9900, C155*400/24000)","v":48.606060606060609},370,370,92,176,176,9.9371007999999996,3208,2200]
["HT","HT-7000S-C",3208,2200,7.0575999999999999,"Color","10GigE-BaseT",4.5,17.504516445763361,"IMX420","C-Mount","MONO/BAYXX8",8,176,69,6250,2.5,67.95880017344075,37.958800173440757,null,null,null,null,8,{"$f":"IF( OR((L156=U$5),(L156=U$6),(L156=U$7),(L156=U$8),(L156=U$9)), 370, 485)","v":370},{"$f":"IF(OR(G156=$U$13, G156=$U$14),C156*150/9900, C156*400/24000)","v":48.606060606060609},370,370,92,176,176,9.9371007999999996,3208,2200]
["HT","HT-2800S-M",1936,1464,2.8343039999999999,"Mono","10GigE-BaseT",4.5,10.92248543143913,"IMX421","C-Mount","MONO/BAYXX8",8,410,74,6250,2.5,67.95880017344075,37.958800173440757,null,null,null,null,8,{"$f":"IF( OR((L157=U$5),(L157=U$6),(L157=U$7),(L157=U$8),(L157=U$9)), 234, 420)","v":234},{"$f":"IF(OR(G157=$U$13, G157=$U$14),C157*150/9300, C157*400/24000)","v":31.225806451612904},234,234,98,410,410,9.2965171200000007,1936,1464]
["HT","HT-2800S-C",1936,1464,2.8343039999999999,"Color","10GigE-BaseT",4.5,10.92248543143913,"IMX421","C-Mount","MONO/BAYXX8",8,410,69,6250,2.5,67.95880017344075,37.958800173440757,null,null,null,null,8,{"$f":"IF( OR((L158=U$5),(L158=U$6),(L158=U$7),(L158=U$8),(L158=U$9)), 234, 420)","v":234},{"$f":"IF(OR(G158=$U$13, G158=$U$14),C158*150/9300, C158*400/24000)","v":31.225806451612904},234,234,98,410,410,9.2965171200000007,1936,1464]
["HT","HT-2000S-M",1624,1240,2.01376,"Mono","10GigE-BaseT",4.5,9.1947411056538186,"IMX422","C-Mount","MONO/BAYXX8",8,485,74,6250,2.5,67.95880017344075,37.958800173440757,null,null,null,null,8,{"$f":"IF( OR((L159=U$5),(L159=U$6),(L159=U$7),(L159=U$8),(L159=U$9)), 234, 420)","v":234},{"$f":"IF(OR(G159=$U$13, G159=$U$14),C159*150/9300, C159*400/24000)","v":26.193548387096776},234,234,80,485,485,7.8133888000000002,1624,1240]
["HT","HT-2000S-C",1624,1240,2.01376,"Color","10GigE-BaseT",4.5,9.1947411056538186,"IMX422","C-Mount","MONO/BAYXX8",8,485,69,6250,2.5,67.95880017344075,37.958800173440757,null,null,null,null,8,{"$f":"IF( OR((L160=U$5),(L160=U$6),(L160=U$7),(L160=U$8),(L160=U$9)), 234, 420)","v":234},{"$f":"IF(OR(G160=$U$13, G160=$U$14),C160*150/9300, C160*400/24000)","v":26.193548387096776},234,234,80,485,485,7.8133888000000002,1624,1240]
["HT","HT-1800S-M",1604,1100,1.7644,"Mono","10GigE-BaseT",9,17.504516445763361,"IMX425","C-Mount","MONO/BAYXX8",8,660,74,{"$f":"IF( OR((L161=U$5),(L161=U$6),(L161=U$7),(L161=U$8),(L161=U$9)), 100000/4, 100000)","v":25000},2.5,72,43.979400086720375,null,null,null,null,8,{"$f":"IF( OR((L161=U$5),(L161=U$6),(L161=U$7),(L161=U$8),(L161=U$9)), 177, 246)","v":177},{"$f":"IF(OR(G161=$U$13, G161=$U$14),C161*150/9900, C161*400/24000)","v":24.303030303030305},177,177,184,660,660,9.3160319999999999,1604,1100]
["HT","HT-1800S-C",1604,1100,1.7644,"Color","10GigE-BaseT",9,17.504516445763361,"IMX425","C-Mount","MONO/BAYXX8",8,660,69,{"$f":"IF( OR((L162=U$5),(L162=U$6),(L162=U$7),(L162=U$8),(L162=U$9)), 100000/4, 100000)","v":25000},2.5,72,43.979400086720375,null,null,null,null,8,{"$f":"IF( OR((L162=U$5),(L162=U$6),(L162=U$7),(L162=U$8),(L162=U$9)), 177, 246)","v":177},{"$f":"IF(OR(G162=$U$13, G162=$U$14),C162*150/9900, C162*400/24000)","v":24.303030303030305},177,177,184,660,660,9.3160319999999999,1604,1100]
["HT","HT-500S-M",812,620,0.50344,"Mono","10GigE-BaseT",9,9.1947411056538186,"IMX426","C-Mount","MONO/BAYXX8",8,1586,74,{"$f":"IF( OR((L163=U$5),(L163=U$6),(L163=U$7),(L163=U$8),(L163=U$9)), 100000/4, 100000)","v":25000},2.5,72,43.979400086720375,null,null,null,null,8,{"$f":"IF( OR((L163=U$5),(L163=U$6),(L163=U$7),(L163=U$8),(L163=U$9)), 122, 215)","v":122},{"$f":"IF(OR(G163=$U$13, G163=$U$14),C163*150/9300, C163*400/24000)","v":13.096774193548388},122,122,155,1586,{"$f":"FLOOR(IF((10 > (1000000/AD163)-AC163), (1000000/(AC163+10)), AD163),1)","v":1586},6.3876467200000002,812,620]
["HT","HT-500S-C",812,620,0.50344,"Color","10GigE-BaseT",9,9.1947411056538186,"IMX426","C-Mount","MONO/BAYXX8",8,1586,69,{"$f":"IF( OR((L164=U$5),(L164=U$6),(L164=U$7),(L164=U$8),(L164=U$9)), 100000/4, 100000)","v":25000},2.5,72,43.979400086720375,null,null,null,null,8,{"$f":"IF( OR((L164=U$5),(L164=U$6),(L164=U$7),(L164=U$8),(L164=U$9)), 122, 215)","v":122},13.096774193548388,122,122,155,1586,1586,6.3876467200000002,812,620]
["HT","HT-25000SBL-M",5320,4600,24.472000000000001,"Mono","10GigE-BaseT",2.74,{"$f":"SQRT(C165^2+D165^2)*H165*0.001","v":19.270285785114865},"IMX540","C-Mount","MONO/BAYXX8",8,{"$f":"AE165","v":35},78,{"$f":"IF( OR((L165=U$5),(L165=U$6),(L165=U$7),(L165=U$8),(L165=U$9)), 9500/4, 9500)","v":2375},2,{"$f":"IF(20*LOG10(P165/Q165)<72, 20*LOG10(P165/Q165), 72)","v":61.492672365938084},{"$f":"20*LOG10(SQRT(P165))","v":33.756636139608858},null,null,null,null,{"$f":"IF(   OR((L165= U$8), (L165 = U$10)),   16,    IF(OR((L165 = U$6), (L165 = U$9)), 24,      IF((L165 = U$5), 8, 12)  ))","v":8},{"$f":"IF( OR((L165=U$5),(L165=U$6),(L165=U$7),(L165=U$8),(L165=U$9)), 880, 1240)","v":880},85.806451612903231,{"$f":"FLOOR(     IF(OR((L165= U$8),(L165= U$10)), Z165*16,    IF(OR((L165 = U$6), (L165 = U$9)), Z165*24,  IF((L165 = U$5),Y165, Z165*12))    ),1)","v":880},{"$f":"IF(AA165 > Y165, AA165, Y165)","v":880},240,35,{"$f":"FLOOR(IF((10 > (1000000/AD165)-AC165), (1000000/(AC165+10)), AD165),1)","v":35},{"$f":"AE165*C165*D165*X165/1000000000","v":6.8521599999999996},5320,4600]
["HT","HT-25000SBL-C",5320,4600,24.472000000000001,"Color","10GigE-BaseT",2.74,19.270285785114865,"IMX540","C-Mount","MONO/BAYXX8",8,35,72,2375,2,{"$f":"IF(20*LOG10(P166/Q166)<72, 20*LOG10(P166/Q166), 72)","v":61.492672365938084},{"$f":"20*LOG10(SQRT(P166))","v":33.756636139608858},null,null,null,null,8,{"$f":"IF( OR((L166=U$5),(L166=U$6),(L166=U$7),(L166=U$8),(L166=U$9)), 880, 1240)","v":880},85.806451612903231,880,{"$f":"IF(AA166 > Y166, AA166, Y166)","v":880},240,35,35,6.8521599999999996,5320,4600]
["HT","HT-20000SBL-M",4504,4504,20.286016,"Mono","10GigE-BaseT",2.74,17.452753004703872,"IMX541","C-Mount","MONO/BAYXX8",8,43,78,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L167=U$5),(L167=U$6),(L167=U$7),(L167=U$8),(L167=U$9)), 720, 1070)","v":720},72.645161290322577,720,720,240,{"$f":"IF(OR(G167=$U$13, G167=$U$14), FLOOR(IF(AB167 > Y167/100, 150000000/(AB167*(D167+AC167)), (150000000/(Y167*(D167+AC167)))),1), FLOOR(IF(AB167 > Y167/100, 400000000/(AB167*(D167+AC167)), (400000000/(Y167*(D167+AC167)))),1))","v":43},43,6.9783895039999999,4504,4504]
["HT","HT-20000SBL-C",4504,4504,20.286016,"Color","10GigE-BaseT",2.74,17.452753004703872,"IMX541","C-Mount","MONO/BAYXX8",8,43,72,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L168=U$5),(L168=U$6),(L168=U$7),(L168=U$8),(L168=U$9)), 720, 1070)","v":720},72.645161290322577,720,720,240,43,43,6.9783895039999999,4504,4504]
["HT","HT-16000SBL-M",5320,3032,16.130240000000001,"Mono","10GigE-BaseT",2.74,16.777980963822792,"IMX542","C-Mount","MONO/BAYXX8",8,52,78,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L169=U$5),(L169=U$6),(L169=U$7),(L169=U$8),(L169=U$9)), 870, 1240)","v":870},85.806451612903231,870,870,240,52,52,6.7101798400000003,5320,3032]
["HT","HT-16000SBL-C",5320,3032,16.130240000000001,"Color","10GigE-BaseT",2.74,16.777980963822792,"IMX542","C-Mount","MONO/BAYXX8",8,52,72,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L170=U$5),(L170=U$6),(L170=U$7),(L170=U$8),(L170=U$9)), 870, 1240)","v":870},85.806451612903231,870,870,240,52,52,6.7101798400000003,5320,3032]
["HT","HT-12000SBL-M",4096,3000,12.288,"Mono","10GigE-BaseT",2.74,13.911327285403074,"IMX545","C-Mount","MONO/BAYXX8",8,68,78,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L171=U$5),(L171=U$6),(L171=U$7),(L171=U$8),(L171=U$9)), 680, 1000)","v":680},66.064516129032256,680,680,240,68,68,6.6846719999999999,4096,3000]
["HT","HT-12000SBL-C",4096,3000,12.288,"Color","10GigE-BaseT",2.74,13.911327285403074,"IMX545","C-Mount","MONO/BAYXX8",8,68,72,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L172=U$5),(L172=U$6),(L172=U$7),(L172=U$8),(L172=U$9)), 680, 1000)","v":680},66.064516129032256,680,680,240,68,68,6.6846719999999999,4096,3000]
["HT","HT-8000SBL-M",2840,2840,8.0655999999999999,"Mono","10GigE-BaseT",2.74,11.004844256962478,"IMX546","C-Mount","MONO/BAYXX8",8,73,78,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L173=U$5),(L173=U$6),(L173=U$7),(L173=U$8),(L173=U$9)), 660, 910)","v":660},45.806451612903224,660,660,240,73,73,4.7103104,2840,2840]
["HT","HT-8000SBL-C",2840,2840,8.0655999999999999,"Color","10GigE-BaseT",2.74,11.004844256962478,"IMX546","C-Mount","MONO/BAYXX8",8,73,72,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L174=U$5),(L174=U$6),(L174=U$7),(L174=U$8),(L174=U$9)), 660, 910)","v":660},45.806451612903224,660,660,240,73,73,4.7103104,2840,2840]
["HT","HT-5000SBL-M",2448,2048,5.0135040000000002,"Mono","10GigE-BaseT",2.74,8.7452833722412908,"IMX547","C-Mount","MONO/BAYXX8",8,99,78,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L175=U$5),(L175=U$6),(L175=U$7),(L175=U$8),(L175=U$9)), 660, 900)","v":660},39.483870967741936,660,660,240,99,99,3.9706951680000002,2448,2048]
["HT","HT-5000SBL-C",2448,2048,5.0135040000000002,"Color","10GigE-BaseT",2.74,8.7452833722412908,"IMX547","C-Mount","MONO/BAYXX8",8,99,72,2375,2,61.492672365938084,33.756636139608858,null,null,null,null,8,{"$f":"IF( OR((L176=U$5),(L176=U$6),(L176=U$7),(L176=U$8),(L176=U$9)), 660, 900)","v":660},39.483870967741936,660,660,240,99,99,3.9706951680000002,2448,2048]